Sections MUST NOT be deleted. If not relevant to a particular investigation, detail as “Not Applicable”. Sections should be adapted with study specific details.

Highlighted text should be replaced with study-specific details.

Text in blue is for guidance only and should be deleted prior to submission.

This template is intended as guidance for a Clinical Investigation Plan (CIP) or Clinical Performance Study Protocol (CPSP) for device studies sponsored or co-sponsored by the University of Edinburgh and/or Lothian Health Board. It includes minimum content required under ISO 14155 (Medical Devices) and ISO 20916 (In vitro diagnostics medical devices). Additional information may be included where appropriate. The final plan/protocol should clearly detail the rationale, objectives, design and pre-specified analyses, methodology, organisation, monitoring procedures, conduct and record-keeping requirements of the clinical investigation or performance study.

CLINICAL INVESTIGATION PLAN or CLINICAL PERFORMANCE STUDY PROTOCOL

Full Title of Study

Short Title/Acronym

| Co-Sponsors | The University of Edinburgh & Lothian Health Board ACCORD Usher Building 5-7 Little France Road Edinburgh BioQuarter – Gate 3 Edinburgh EH16 4UX |
| --- | --- |
| Local Representative | Where the Sponsor is not resident in the country in which the clinical investigation is conducted, certain national or regional regulations require the appointment of a Local Representative. The Local Representative’s name and address must be provided. They will act on the Sponsor’s behalf and assume the Sponsor’s responsibilities within that country. |
| Funder | Insert name of funder |
| Funding Reference Number | Insert funding reference A copy of the grant award letter should also be submitted to the Co-Sponsors as part of the Sponsorship Review. |
| Chief Investigator | Insert name and title of CI |
| Sponsor Reference | ACXXXX ACCORD will provide this number. |
| Registration Number | All investigations of a medical device must be registered on a publicly accessible database. This will generate a registration number e.g. ISRCTN or other appropriate registry. The HRA automatically initiate registration of an investigation of a medical device with ISRCTN registry. Registration must be completed by the research team. This applies to both clinical investigations of a medical device (CIMD) and combined trials of investigational medicinal product and a medical device (IMP/device). If a study is registered with ClinicalTrials.gov you can request not to be registered on ISRCTN Registry. In any case, registration will be completed before the recruitment of the first participant or within 90 days of approval of the clinical investigation (whichever is sooner). |
| REC Number | Will be provided at the time of REC submission. |
| Version Number and Date | These should correspond with the header). Refer to ACCORD SOP QA008 Document Version Control for more details. The CIP/CPSP submitted to the REC and/or MHRA should be V1.0 and the date of submission. |

KEY STUDY CONTACTS

(*Protocol Authors) This information must be included for insurance purposes

| Chief Investigator |  |  | Lead Co-Sponsor Representative |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  |  |  | Name: |  |  |
| Address: |  |  |  | Address: |  |  |
| Email: |  |  |  | Email: |  |  |
| Trial Manager |  |  | Study Statistician |  |  |
| Name: | Required for all multi-location studies |  |  | Name: | Named statistician required for all CIMDs |  |
| Address: |  |  |  | Address: |  |  |
| Email: |  |  |  | Email: |  |  |

CLINICAL INVESTIGATION PLAN or CLINICAL PERFORMANCE STUDY PROTOCOL SIGNATURE PAGE

Full Title of Study

Short Title/Acronym

The undersigned accept the content of this Clinical Investigation Plan or Clinical Perfomance Study Protocol in accordance with the appropriate regulations and agree to adhere to it throughout the execution of the study.

| Name |  |  |  |
| --- | --- | --- | --- |
| Chief Investigator | Signature |  | Date |
| Name |  |  |  |
| Study Statistician | Signature |  | Date |
| Name |  |  |  |
| Lead Co-Sponsor Representative | Signature |  | Date |

For multi-location studies, the Principal Investigator must sign below to document that the protocol has been read and understood.

| Name |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Principal Investigator | Signature |  | Location |  | Date |

Following any modifications to the protocol, this page must be re-signed.

A signed copy of the protocol is required for R&D submission.

SUMMARY OF REVISION HISTORY

| Version Number | Date | Summary of Revision(s) | Updated by |
| --- | --- | --- | --- |
| 1.0 | DD/MM/YYYY | Initial document release | Name |

CONTENTS

To update the table of contents, right click in the contents, select ‘Update Field’, select ‘Update page numbers only’ or ‘Update entire table’.

1	INTRODUCTION	13

1.1	BACKGROUND	13

1.2	RATIONALE FOR STUDY	13

2	OVERVIEW OF THE INVESTIGATIONAL DEVICE	13

2.1	SUMMARY DESCRIPTION OF THE INVESTIGATIONAL DEVICE	14

2.2	MANUFACTURER OF THE INVESTIGATIONAL DEVICE	14

2.3	INVESTIGATIONAL DEVICE IDENTIFICATION	14

2.4	INVESTIGATIONAL DEVICE TRACEABILITY	14

2.5	INVESTIGATIONAL DEVICE INTENDED PURPOSE	14

2.6	INVESTIGATIONAL DEVICE ACCOUNTABILITY	14

2.7	TARGET POPULATION(S) AND INDICATION(S) FOR USE	15

2.8	TECHNICAL DESCRIPTION OF THE INVESTIGATIONAL DEVICE	15

2.8.1	Materials and Active Ingredients	15

2.8.2	Labelling and Packaging	15

2.8.3	Stability and Storage	15

2.9	TRAINING AND EXPERIENCE REQUIREMENTS	16

2.10	USER INFORMATION	16

3	ANALYTICAL PERFORMANCE	16

4	RISK MANAGEMENT	16

5	STUDY OBJECTIVES & ENDPOINTS	17

5.1	PRIMARY OBJECTIVES	17

5.1.1	Primary Objective	17

5.1.2	Primary Endpoint	17

5.2	SECONDARY OBJECTIVES	17

5.2.1	Secondary Objectives	17

5.2.2	Secondary Endpoints	17

6	STUDY DESIGN	17

6.1	GENERAL	17

6.2	INVESTIGATIONAL DEVICE(S) AND COMPARATOR(S)	18

7	STUDY POPULATION	18

7.1	NUMBER OF PARTICIPANTS	18

7.2	INCLUSION CRITERIA	18

7.3	EXCLUSION CRITERIA	18

7.4	CO-ENROLMENT	19

7.5	JUSTIFICATION FOR INCLUSION OF VULNERABLE POPULATIONS	19

8	PARTICIPANT SELECTION AND ENROLMENT	19

8.1	IDENTIFYING PARTICIPANTS	19

8.2	CONSENTING PARTICIPANTS	20

8.3	SCREENING FOR ELIGIBILITY	20

8.4	INELIGIBLE AND NON-RECRUITED PARTICIPANTS	20

8.5	RANDOMISATION	20

8.5.1	Randomisation Procedures	20

8.5.2	Treatment Allocation	20

8.5.3	Suspension or Premature Termination of the Clinical Investigation	21

8.5.4	Emergency Unblinding Procedures	21

8.6	WITHDRAWAL OF STUDY PARTICIPANTS	21

9	STUDY ASSESSMENTS	22

9.1	SAFETY ASSESSMENTS	22

9.2	STUDY ASSESSMENTS	22

9.3	PARTICPANT COMPLIANCE ASSESSMENTS	22

9.4	LONG TERM FOLLOW UP ASSESSMENTS	22

9.5	STORAGE AND ANALYSIS OF SAMPLES	22

10	DATA COLLECTION	23

10.1	SOURCE DATA RECORDS	24

10.2	CASE REPORT FORMS	24

10.3	STUDY DATABASE	25

10.4	STUDY DOCUMENT TRANSLATIONS	25

11	DATA MANAGEMENT	25

11.1	DATA MANAGEMENT PLAN	25

11.2	PERSONAL DATA	25

11.3	DATA INFORMATION FLOW	26

11.4	DATA STORAGE	26

11.5	DATA RETENTION	26

11.6	DISPOSAL OF DATA	27

11.7	EXTERNAL TRANSFER OF DATA	27

11.8	DATA CONTROLLER	27

11.9	DATA BREACHES	27

12	STATISTICS AND DATA ANALYSIS	28

12.1	SAMPLE SIZE CALCULATION	28

12.2	PROPOSED ANALYSES	28

13	SAFETY	28

13.1	DEFINITIONS	28

13.2	IDENTIFYING AEs, ADEs, SAEs AND SADEs	29

13.3	RECORDING AEs, ADEs, SAEs AND SADEs	30

13.3.1	Pre-existing Medical Conditions	30

13.3.2	Worsening of an Underlying Condition During the Study	30

13.4	ASSESSMENT OF AEs, ADEs, SAEs, SADEs AND USADEs	30

13.4.1	Assessment of Seriousness	30

13.4.2	Assessment of Causality	31

13.4.3	Assessment of Expectedness	31

13.4.4	Assessment of Severity	31

13.5	RECORDING OF AEs/SAEs/SADEs/USADEs	31

13.6	REPORTING OF SAEs/SADEs/USADEs	31

13.7	EVENTS EXEMPT FROM REPORTING/RECORDING AS AES/SAES	32

13.8	REGULATORY REPORTING REQUIREMENTS	32

13.9	DEVICE DEFICIENCIES	33

13.9.1	Definition	33

13.9.2	Reporting of Device Deficiencies	33

13.9.3	Device Quarantine	34

13.10	FOLLOW UP PROCEDURES	34

13.11	PREGNANCY	34

14	STUDY MANAGEMENT AND OVERSIGHT ARRANGEMENTS	34

14.1	TRIAL MANAGEMENT GROUP	34

14.2	TRIAL STEERING COMMITTEE	34

14.3	DATA MONITORING COMMITTEE	35

14.4	INSPECTION OF RECORDS	35

14.5	RISK ASSESSMENT	35

14.6	STUDY MONITORING AND AUDIT	35

14.6.1	Monitoring Plan	35

15	GOOD CLINICAL PRACTICE	36

15.1	ETHICAL CONDUCT	36

15.2	REGULATORY COMPLIANCE	36

15.3	CLINICAL INVESTIGATION COMPLIANCE	36

15.4	NHS LOTHIAN MEDICAL PHYSICS	36

15.5	INVESTIGATOR RESPONSIBILITIES	36

15.5.1	Informed Consent	37

15.5.2	Study Location Staff	37

15.5.3	Data Recording	37

15.5.4	Investigator Documentation	37

15.5.5	GCP Training	37

15.5.6	Data Protection Training	38

15.5.7	Information Security Training	38

15.5.8	Confidentiality	38

15.5.9	Data Protection	38

16	STUDY CONDUCT RESPONSIBILITIES	38

16.1	PROTOCOL MODIFICATIONS	38

16.2	PROTOCOL NON-COMPLIANCE	39

16.2.1	Definitions	39

16.2.2	Management of Deviations and Violations	39

16.2.3	Protocol Waivers	39

16.3	URGENT SAFETY MEASURES	39

16.4	SERIOUS BREACH REQUIREMENTS	39

16.5	END OF STUDY	40

16.6	CONTINUATION OF DEVICE USE FOLLOWING THE END OF STUDY	40

16.7	INSURANCE AND INDEMNITY	40

17	REPORTING, PUBLICATIONS AND NOTIFICATION OF RESULTS	41

17.1	AUTHORSHIP POLICY	41

17.2	PUBLICATION	41

17.3	DATA SHARING	41

17.4	PEER REVIEW	42

18	REFERENCES	42

APPENDIX 1: Trial Steering Committee	43

APPENDIX 2: Data Monitoring Committee	44

LIST OF ABBREVIATIONS

This is not an exhaustive list. Any additional abbreviations used within the protocol must also be added here.

| ACCORD | Academic and Clinical Central Office for Research & Development - Joint office for The University of Edinburgh and Lothian Health Board |
| --- | --- |
| ADE | Adverse Device Effect |
| AE | Adverse Event |
| CA | Competent Authority |
| CE | Conformité Européenne |
| CI | Chief Investigator |
| CIA | Clinical Investigation Agreement |
| CIP | Clinical Investigation Plan |
| CISR | Clinical Investigation Study Report |
| CPSP | Clinical Performance Study Protocol |
| CPSR | Clinical Performance Study Report |
| CRF | Case Report Form |
| DD | Device Deficiency |
| DMC | Data Monitoring Committee |
| EC | European Commission |
| eCRF | Electronic Case Report Form |
| FDA | Food & Drug Administration |
| GCP | Good Clinical Practice |
| GMP | Good Manufacturing Practice |
| IB | Investigator Brochure |
| ICH | International Conference on Harmonisation |
| IFU | Instructions for Use |
| IMD | Investigational Medicinal Device |
| ISF | Investigator Site File |
| ISRCTN | International Standard Randomised Controlled Trials Number |
| IVD | In vitro Diagnostic |
| MD | Medical Device |
| MHRA | Medicines and Healthcare products Regulatory Agency |
| PE | Performance Evaluation |
| PI | Principal Investigator |
| POC | Point of Care |
| QA | Quality Assurance |
| REC | Research Ethics Committee |
| SADE | Serious Adverse Device Effect |
| SAE | Serious Adverse Event |
| SAR | Serious Adverse Reaction |
| SDV | Source Data Verification |
| SPC | Summary of Product Characteristics |
| SOP | Standard Operating Procedure |
| SUSAR | Suspected Unexpected Serious Adverse Reaction |
| TMF | Trial Master File |
| TMG | Trial Management Group |
| TSC | Trial Steering Committee |
| UKCA | United Kingdom Conformity Assessed |
| UKMDR | The Medical Devices Regulations 2002 (SI 2002 No 618, as amended) (UK medical devices regulations) |
| USADE | Unanticipated Serious Adverse Device Effect |

SYNOPSIS OF THE CLINICAL INVESTIGATION or CLINICAL PERFORMANCE

| Investigation Title |  |
| --- | --- |
| Study Acronym |  |
| Clinical Phase |  |
| Investigation Design |  |
| Investigation Participants |  |
| Planned Number of Participants |  |
| Planned Number of Investigation Locations |  |
| Countries Anticipated to be Involved in Investigation |  |
| Investigation Duration |  |
| Follow up Duration |  |
| Total Planned Investigation Duration |  |
| Primary Objective |  |
| Secondary Objectives |  |
| Primary Endpoint |  |
| Secondary Endpoint |  |
| Device(s) and Intended Purpose(s) |  |
| Main Inclusion/Exclusion Criteria |  |
| Regulatory Classification of Device |  |
| Lay Summary of Investigation |  |

# INTRODUCTION

## BACKGROUND

Should include:

- Reviews of previous studies conducted.

- Clinical use of the device (or relevant inference to similar devices).

- Disease particulars.

- Disease incidence.

- Current treatment options.

- Risks and benefits.

- Summary of important relevant preclinical/non clinical studies. Cross reference the IB where applicable.

## RATIONALE FOR STUDY

A clear explanation of the research questions, hypothesis and justification of the study is required here.

- An explanation of why the research is appropriate.

- Benefits to participants.

- Relevance to current policies.

- Current available treatment(s), their limitations, why the device may be an improvement.

Descriptions of the following should also be provided:

- Indication (diagnosis, incidence, current treatment(s) and their limitations).

- Treatment/device under investigation.

Justification should be provided to support that the device could achieve clinical improvement over current practice (and indicate its relevance to healthcare practice). Especially if the study population is:

- in children or in adults unable to consent for themselves for longer duration

- in a participant population that might handle it differently (e.g. hepatic or renally impaired participants, children, elderly, immunocompromised)

- it is being used in combination with another device or medicinal product

- the indication/ medical condition compromises the participant’s tolerance

# OVERVIEW OF THE INVESTIGATIONAL DEVICE

Each section below should also provide available information for the comparator if applicable.

## SUMMARY DESCRIPTION OF THE INVESTIGATIONAL DEVICE

## MANUFACTURER OF THE INVESTIGATIONAL DEVICE

- Include name, address, compliance to regulations, any certifications/standards achieved and details of a manufacturer representative.

- Note some countries may require the contact details of a local authorised representative. Add who will provide sign off to release the devices to study locations – this role is normally taken by the manufacturer of the device(s).

- The lead ACCORD monitor for single centre studies or the Trial Manager for multi-centre studies will provide authorisation to ship the devices to study locations using regulatory green light checklist (SOP CM001). Release cannot take place until required approvals are in place.

- Include information on the process to return the devices to the manufacturer or destruction at study location, who will provide this authorisation and where it will be documented.

## INVESTIGATIONAL DEVICE IDENTIFICATION

| Device name | Device Model | GMDN code | Classification | Regulation |
| --- | --- | --- | --- | --- |
| Blood gas analyser | BGA1 | 18853 | Class IIb | UK MDR 2002 |

Provide name or number of the model/type, including software version and accessories, if any, to permit full identification.

## INVESTIGATIONAL DEVICE TRACEABILITY

Description of how traceability will be achieved during and after the clinical investigation, e.g. by assignment of lot numbers, batch numbers, or serial numbers.

## INVESTIGATIONAL DEVICE INTENDED PURPOSE

## INVESTIGATIONAL DEVICE ACCOUNTABILITY

Include a description of the procedures for the accountability of investigational devices and the procedures and particular materials and instructions for the safe return of investigational devices, including those that are potentially hazardous.

The Investigator or an authorised designee shall keep records documenting the following:

- Name(s) of person(s) who received, used, returned, or disposed of the device.

- The date of receipt, identification, and quantity of each investigational device (batch number/serial number or unique code).

- The expiry date, if applicable.

- The date or dates of use.

- Subject identification.

- Date on which the investigational device was returned/explanted from subject, if applicable.

- The date of return of unused, expired, or malfunctioning investigational devices, if applicable.

- The date and documentation of disposal of the investigational devices as per instructions of the sponsor, if applicable.

Written procedures should be established for the entire process of device accountability.

## TARGET POPULATION(S) AND INDICATION(S) FOR USE

## TECHNICAL DESCRIPTION OF THE INVESTIGATIONAL DEVICE

- Provide a description of how the device operates and its components, e.g. software, to achieve the intended purpose. this could include any images/photographs of the device.

- List any device components and/or accessories that are part of the device.

- Add the specification of the analyte or marker to be determined by the device.

### Materials and Active Ingredients

Provide information on any biologically active substances, medical substances, human or animal tissues or their derivatives that are part of the device and reference compliance with the applicable national regulations.

### Labelling and Packaging

- Name and address of the party responsible for any additional packaging and/or labelling.

- Any specifics such as the number of components within a pack or pouch / a description of the label format.

- Labels will be in the local language and comply with the legal requirements and the Medical Devices Regulations 2002 (Annex I, section 13), ISO 15223-1 and ISO 15223-2. They will include storage conditions for the device, but no information about the patient. The labelling should indicate that the Medical Device/IVD medical device under investigation is exclusively for use in a clinical investigation/performance study.

### Stability and Storage

- What is the stability of the investigational devices? Could reference the IB instead.

- Where will the investigational devices be stored at study location?

- What are the storage conditions (e.g. temperature)?

- Will temperature monitoring be in place at study location?

- How will devices be transported (e.g. between manufacturer and study location, or between study location and participant homes) – will conditions be monitored during transit?

- Consider whether any risk adaption for temperature monitoring is possible, taking into account stability of product and storage conditions required.

## TRAINING AND EXPERIENCE REQUIREMENTS

Provide an overview of the user information, e.g. device used by lay users, by professionals, any specific training required to effectively use or operate the device – this training must be documented/logged.

## USER INFORMATION

Description of the specific medical or surgical procedures involved in the use of the investigational device. Reference the Investigator Brochure (IB) and Instructions for Use (IFU) and any other supporting documents, e.g. brochures, training manuals.

# ANALYTICAL PERFORMANCE

Include all pre-clinical testing of the device to demonstrate it is capable of performing under ideal and controlled conditions. This might include sensitivity, specificity, reading time, in-use stability, shelf-life, robustness etc. Consider the points below in the justification.

- Evaluation of the results of the relevant pre-clinical testing/assessment and prior clinical investigations, if applicable, carried out to justify the use of the investigational device in human subjects.

- Evaluation of clinical data that are relevant to the proposed clinical investigation.

- Description of the clinical development stage, if appropriate.

# RISK MANAGEMENT

Describe the risk management activities undertaken for the investigational device, clinical procedure and clinical investigation and its outcomes (see below points). Reference any supporting documentation, e.g. Risk Management Plan and Report that were conducted and any regulatory compliance.

- Anticipated clinical benefits.

- Anticipated adverse device effects.

- Risks associated with participation in the clinical investigation.

- Possible interactions with concomitant medical treatments as considered under the risk analysis.

- Steps that will be taken to control or mitigate the risks.

- Rationale for benefit-risk ratio.

# STUDY OBJECTIVES & ENDPOINTS

## PRIMARY OBJECTIVES

### Primary Objective

Detail the primary objective of the study. Ensure this corresponds with the information provided in the device investigation application forms.

### Primary Endpoint

Detail the primary endpoint of the study. Ensure this corresponds with the information provided in the device investigation application forms.

## SECONDARY OBJECTIVES

### Secondary Objectives

Detail the secondary objectives of the study. Ensure this corresponds with the information provided in the device investigation application forms.

### Secondary Endpoints

Detail the secondary endpoint of the study. Ensure this corresponds with the information provided in the device investigation application forms.

# STUDY DESIGN

## GENERAL

- A schematic representation is required to outline the study design and include the outcome measures/timepoints and proposed analyses.

- The current study design and clinical performance should demonstrate with objective evidence how the device will perform in routine clinical practice.

- Type of study e.g. multi-centre, randomised, double-blind, placebo/other (e.g. standard of care) controlled, cross-over etc.

- Description of the measures to be taken to minimise or avoid bias, such as randomisation, concealment of allocation, blinding/masking, and management of potential confounding factors. Any procedures for the replacement of participants (generally, not applicable to randomised clinical investigations).

- Control group (e.g. comparative claim and reversible treatment of a chronic state) and the comparator with rationale and justification for the choice (absence of control(s).

- Methods and timing for assessing, recording, and analysing variables.

- Equipment to be used for assessing the investigation variables and arrangements for monitoring maintenance and calibration.

- Duration of investigation.

- Investigation locations: number, location, and, if appropriate, differences in investigation location environment.

- Duration of follow-up phase.

- Duration of participant involvement.

- Any stopping rules for the investigation.

## INVESTIGATIONAL DEVICE(S) AND COMPARATOR(S)

- Include the description of the exposure to the investigational device(s) or comparator(s), if applicable.

- List of any other medical device or medication to be used during the clinical investigation if not already specified in the instructions for use.

- Number of investigational devices to be used, and a justification.

# STUDY POPULATION

## NUMBER OF PARTICIPANTS

- Number of participants.

- Participant population.

- Length of recruitment period.

## INCLUSION CRITERIA

- Detail participant inclusion criteria.

- Consider if and how the criteria will be measurable and verifiable through source data.

- Consider which study team members will assess eligibility and the number of steps required.

- Consider how patient and participant input can shape criteria selection.

- Consider the necessity of criteria in relation to an ability to recruit to target.

- Ensure this information is consistent with information provided on device investigation application forms.

## EXCLUSION CRITERIA

- Detail participant exclusion criteria.

- Consider if and how the criteria will be measurable and verifiable through source data.

- Consider which study team members will assess eligibility and the number of steps required.

- Consider how patient and participant input can shape criteria selection.

- Consider any product safety concerns or contraindications that would exclude a specific population or give rise to other eligibility considerations.

- Ensure this information is consistent with information provided on the device investigation application forms.

- Ensure eligibility criteria include provision for appropriate contraception/pregnancy testing in line with the relevant guidance. Methods of highly effective contraception, consistent with the CTFG document, need to be provided in the protocol rather than a reference to the CTFG document for the information.

## CO-ENROLMENT

Refer to ACCORD Co-enrolment Policy (POL008 Co-enrolment Policy)

- Detail the policy towards co-enrolment and/or state that there will be compliance with the ACCORD Co-enrolment Policy POL008.

- If co-enrolment will not be allowed in any circumstances, this should be stated.

- Where co-enrolment is permitted, details of co-enrolment may entail identifying specific studies with which co-enrolment will be permitted. Alternatively, there may be situations where generic circumstances can be described e.g. co-enrolment could be permitted with studies that involve only the collection of data (e.g. questionnaires) or tissue samples (e.g. blood).

- Provide details of how co-enrolment will be managed and recorded.

- When considering permitting co-enrolment, investigators should be mindful of the potential burden upon participants, their families and research staff.

## JUSTIFICATION FOR INCLUSION OF VULNERABLE POPULATIONS

- If any vulnerable populations will be involved (e.g. children, refugees, prisoners, individuals who are politically powerless) provide justification for their involvement.

- Ethics committees should be assured that these populations will not be exposed to excess risk and that they will benefit from the research findings as a participant group or individually.

# PARTICIPANT SELECTION AND ENROLMENT

## IDENTIFYING PARTICIPANTS

- Describe how potential participants will be identified. This information must correspond with information provided on the device investigation application forms.

- Who will identify potential participants? Typically, only a member of the participant’s direct care team can have access to their medical records prior to consent being given, to check if they meet inclusion criteria.

- How will first approach be made and by whom? If the study proposes to use individuals outside of the usual clinical care team to identify potential participants or make the first approach, the reason for this should be documented.

- Detail any registries to be used e.g. SHARE database.

- Consider where participants will be recruited from, refer to POL011, promoting diversity and inclusion in health-related research studies.

## CONSENTING PARTICIPANTS

- Consider input from patient and participant representatives before finalising processes.

- How long will participants be permitted to consider the information sheet before participating in the study (i.e. from the time the PIS is provided)?

- Who will be delegated to take informed consent from participants?

- Is e-consent intended to be used? If yes, specify the name of the system and vendor who manages it.

- Describe and justify any scenarios where consent will not be directly obtained from participants prior to study-specific activities.

## SCREENING FOR ELIGIBILITY

Participant eligibility will be verified by a clinical trial physician after written informed consent has been obtained. Confirmation of eligibility will be recorded within the participants’ medical records.

- Detail any pre-randomisation assessments to be performed before a participant can formally enter the study, including tests performed as part of routine care which will be used to confirm eligibility.

- Will a screening log be maintained? What information will be recorded and where e.g. screening log, eCRF/database?

## INELIGIBLE AND NON-RECRUITED PARTICIPANTS

Detail procedures for participants who are deemed ineligible or who are not randomised.

## RANDOMISATION

### Randomisation Procedures

- If the study is not randomised, state here.

- Type of randomisation (e.g. simple, block, stratified, minimisation).

- Who will conduct randomisation?

- How will randomisation be performed (e.g. if web-based, specify name of system).

- Use of equal or unequal allocation between treatment arms.

- If blinded, detail level of blinding.

### Treatment Allocation

- Detail procedures for providing the device.

- Provide information on the instructions participants will receive.

### Suspension or Premature Termination of the Clinical Investigation

- Include criteria for suspension or premature termination of the whole clinical investigation or of the investigation in one more location.

- Cover requirements for participant follow up and continued care.

- Ensure the Emergency Unblinding Procedures are covered in the next section.

### Emergency Unblinding Procedures

- If the study is blinded, detail procedures for breaking the study blind.

- How will unblinding be performed (e.g. web-based, by telephone).

- Who can perform the unblinding?

- Who will be notified of the unblinding?

- Where will details of unblinding be recorded?

- Could unblinding occur unintentionally? How will unintended unblinding be prevented?

## WITHDRAWAL OF STUDY PARTICIPANTS

Participants are free to withdraw from the study at any point or a participant can be withdrawn by the Investigator. If withdrawal occurs, the primary reason for withdrawal will be documented in the participant’s case report form if possible. The participant will have the option of withdrawal from:

Consider which data are critical when finalising these options.

Consider actions that could help to minimise withdrawal e.g. PPI consultation, transport, reimbursement.

- Study medication with continued study procedures and collection of clinical and safety data;

- All aspects of the study but continued use of data collected up to that point. To safeguard rights, the minimum personal identifiable information (PII) possible will be collected.

- All aspects of the study including data collected up to that point where it is possible to delete this data e.g. this data will not be used in the final data analysis. To safeguard rights, the minimum PII possible will be retained e.g. consent form.

Randomised participants who wish to be withdrawn from the study before they have undertaken any study related procedures will be withdrawn from the study and another participant will be recruited to replace them. Data on the original participant will be kept on the CRF/database if the participant agrees to this.

- Detail reasons and procedures for a study participant stopping early (i.e. stopping rules and discontinuation criteria).

- State whether withdrawn participants will be replaced.

# STUDY ASSESSMENTS

## SAFETY ASSESSMENTS

Detail any specific safety assessments required for the study.

## STUDY ASSESSMENTS

- Describe all study procedures and assessments.

- Indicate the time points of all assessments and ensure that they are broken down as per visit number if appropriate for clarity. A table of assessments would be useful here.

- Consider an acceptable range of variation in the timing of visits, i.e. +/- windows around the stated timepoint.

- If there are assessments where errors cannot be tolerated, identify and describe the mechanisms to prevent and detect errors.

- Consider highlighting assessments that are critical to data collection for endpoints.

## PARTICPANT COMPLIANCE ASSESSMENTS

- Detail any potential issues in relation to compliance and detail the methods by which compliance will be verified.

- Detail how non-compliance will be recorded and accounted for. If applicable, state the threshold for non-compliance.

## LONG TERM FOLLOW UP ASSESSMENTS

- If participants will be monitored after the active treatment phase has finished, the protocol should describe the long term follow up period including the frequency of follow up visits, duration of follow up period and any assessments that will be carried out.

- Where possible, include a description of the method and number of attempts to contact participants to collect follow-up data in accordance with the schedule, before exhaustion is reached and a participant is considered lost to follow-up.

- Consider whether non-collection of follow-up data in a lost to follow-up scenario should be exempted from deviation reporting, as detailed in protocol section 16.2.

- Consider access to critical data in a lost to follow-up scenario and if any mitigation strategies can be implemented.

- Describe any additional care for study participants once their participation has ended.

## STORAGE AND ANALYSIS OF SAMPLES

This section should describe the procedure for dealing with biological samples if applicable to the study. The section should include:

- Sample types.

- Volume of samples.

- Arrangements for storage (including location) and analysis (e.g. where are samples going to be analysed).

- Will samples be shipped from a study location?

- For international study settings: Will samples be shipped from a local study location to a third-party, or to other institution/laboratory/company, or to a UK-based institution?

- Will samples be destroyed at the end of the study?

- Will consent be sought for long term storage of samples?

- Is the sample analysis critical to the conduct of the study, i.e. is it necessary to determine eligibility and/or relates to primary/secondary endpoint data and objectives (e.g. specific mutations associated with eligibility assessments)?

- Whether the sample analysis is not critical to the conduct of the study, i.e. relates to tertiary/exploratory endpoint data and objectives.

- This information must also be detailed within the PIS/Consent form. DNA/genome/exome wide analysis must be explicitly consented for by participants.

| Sample | Sample Type | Analysis | Location of Lab | Endpoint | Documentation |
| --- | --- | --- | --- | --- | --- |
| 4.9mL Serum Tube | Research Blood | High sensitivity liver injury markers (keratin-18, microRNA-122, GLDH) | Mass Spectrometry Core in the Queens Medical Research Institute, Edinburgh BioQuarter | Primary (explicitly detail which endpoint relates to) | SOP XX Lab Manual |
| 2.8mL EDTA Tube | Clinical Blood | Liver Function test (LFT) | NHS Lothian Laboratory Medicine | Secondary (explicitly detail which endpoint relates to) | Standard of Care |

*The above table is an illustrative example of how to present analysis of samples.

Specify sample type: standard tests performed by local NHS labs (clinical) or non-standard research tests either in NHS labs or external labs (research).

# DATA COLLECTION

The UK General Data Protection Regulation (GDPR) requires appropriate technical and organisational measures to be in place to implement the data protection principles effectively and safeguard individual rights. This is ‘data protection by design and by default’. In essence, this means you have to integrate or ‘bake in’ data protection into your processing activities and business practices, from the design stage right through the lifecycle.

Detail data to be collected, including:

- Time points for collection (e.g. baseline, during treatment, follow up).

- Who will collect the data.

- Details of any standardised tools to be used, specify electronic or paper (e.g. pain score, questionnaires, applications).

- Describe any methods to maximise completeness of data (e.g. telephoning participants who have not returned questionnaires).

- How will data be recorded? e.g. eCRF (name system), pCRF.

- Consider identifying key data which is essential for study design/analysis to allow for risk adaption in data QC and completion.

- Describe the use of any transcription services and any third-party provider who will process participant personal data.

- Describe any audio / video recordings and where these will be stored.

- Include a data flow map or diagram to describe the flows of data and controllership during the study. Guidance can be downloaded from the DFD download on the Health Data Access Tool Kit.

## SOURCE DATA RECORDS

Source data is defined as all information in original records and certified copies of original records or clinical findings, observations, or other activities necessary for the reconstruction and evaluation of the study. Source data are contained in source records.

Source records are original records (electronic or paper) where source data are recorded for the first time.

- Detail the source.

- Where the case report form is a source record, source data captured in the CRF must be detailed within this section. Alternatively, this can be detailed in a separate source data plan which should be referenced here e.g. source data captured directly in the CRF will be detailed in a source data plan (ACCORD SOP CR004-T01).

- Where external data is supplied by a third-party, and the third-party stipulate conditions for the security and management of data on the infrastructure to be used, confirmation of the infrastructure to be used and how it meets the third-party conditions should be detailed here and detailed in a contract as appropriate.

## CASE REPORT FORMS

- This section should provide information regarding the case report forms to be used during the study, including the type of case report forms (i.e. paper and/or electronic).

- If electronic case report forms are to be used with personal data, this section must show how the eCRF will provide data protection by design and default, including encryption of data while it is being stored (at rest) and encryption while it is being entered or transferred into the eCRF.

- Specify the name of the electronic CRF system and where it is hosted.

All case report forms will be reviewed and approved by the ACCORD Monitor prior to use (see ACCORD SOP CR013 CRF Design and Implementation).

NOTE: All electronic case report forms are subject to Co-Sponsor approval (see section 10.3).

## STUDY DATABASE

- Will a study database be used? What is the name of the system? Is it bespoke for the investigation?

- Who (e.g. CTU, research group) will provide and be responsible for the database? The servers of which organisation (country) will host the database?

- How will the database provide data protection by design and default, including encryption of data while it is being stored (at rest) and encryption while it is being entered or transferred into the database?

- Who will enter data?

- What will happen to data at the end of the investigation / how long will data be retained for / where will it be archived?

- NOTE: All databases are subject to Co-Sponsor approval and may be subject to NHS Lothian Information Governance/IT Security risk assessment [see ACCORD SOP GS008 Processing Personal Information: Caldicott Approval and Information Governance Review.

## STUDY DOCUMENT TRANSLATIONS

- If the study plans to use a third-party provider for translating the study documents, include details of this service here.

- Otherwise, specify who will be responsible for providing the study document translations.

# DATA MANAGEMENT

## DATA MANAGEMENT PLAN

All aspects of data collection, data processing (entry/uploading, cleaning, and query management), and the production of the final dataset ready for analysis and/or archiving will be detailed in a separate Data Management Plan (DMP).

For studies subject to a combined risk assessment (GS002), all data management activities should be detailed in a separate data management plan (DMP). Where data management tasks have been delegated to a specialist function group, the vendor DMP template can be used, if applicable. Otherwise, the ACCORD DMP template (POL011-T01) will be used.

## PERSONAL DATA

The following personal identifiable information (PII) will be collected as part of the research:

- Describe how the data will meet the ‘data protection by design and default’ principles of the UK GDPR legislation at every stage of the Data Information Flow. This may require explanation of the infrastructure and systems that will be used to manage the data, and how they are secured at each stage of the flow.

- Where PII is being processed, justify why this data is required, whether it will be uploaded to the eCRF/database or if the personal identifiable data will be retained in the NHS. Where possible, personal identifiable data should not leave the NHS.

- Detail what PII is being processed and for what purpose (e.g. name, CHI number, other unique numeric identifiers, location data, online identifiers (including IP address, cookies), one or more specific identifiers relating to the physical, physiological, genetic, biometric, mental, economic, cultural or social identity of a participant.

## DATA INFORMATION FLOW

Describe the collection, use and deletion of personal data here. It could be useful to provide a list of the IT to be used, how data is secured and insert a flow diagram here.

## DATA STORAGE

Describe where the data will be stored e.g. paper/electronic (if electronic, name organisation and country where data will be hosted). You should distinguish between personal identifiable information and pseudonymised data.

Refer to UoE Research Data Service guidance, in particular Quick Guide 3: Data Storage and the flowchart for data management before, during and after your research.

Personal data (pseudonymised) will be physically stored by the research team at      . Detail what is being stored, location of data storage, who will have access to personal data and where the code break/key will be kept.

Personal identifiable information will be physically stored by the research team at      . Detail what is being stored, location of data storage, who will have access to personal data and where the code break/key will be kept.

Personal data (pseudonymised) will be digitally stored by the research team using      . Detail location (organisation, country) of all systems involved in the collection, transfer and storage of personal data, and who will have access to it for which purposes.

Personal identifiable data will be digitally stored by the research team using      . Detail location (organisation, country) of all systems involved in the collection, transfer and storage of personal data, and who will have access to it for which purposes.

## DATA RETENTION

- Outline the retention period and the reason for the length of time.

- Refer to funders for any funding stipulations associated with retention of records.

- Refer to UoE Research Data Service guidance and the flowchart for data management before, during and after your research.

- Typically, electronic personal data should be stored in a suitable repository e.g. DataStore/DataVault. Costs for this should be considered during the funding application stage.

- Differentiate between electronic and paper sources of personal data (identifiable and pseudonymised).

All study essential records (electronic and paper) will be kept for a minimum of insert number years from the protocol defined end of study point. When the minimum retention period has elapsed, study documentation will be destroyed with permission from the Sponsor.

Personal data (pseudonymised) will be stored for      . Detail duration of personal data retention.

Personal identifiable information will be stored for      . Detail duration of personal data retention.

Anonymous data will be stored for      . Detail duration of personal data retention.

## DISPOSAL OF DATA

- How will the data be deleted or made anonymous once the retention period is over?

- Refer to UoE Research Data Service guidance.

## EXTERNAL TRANSFER OF DATA

- Detail here if there is an intention for any personal identifiable information to be transferred/stored out with NHS Lothian, e.g. for transcription services, eCRF/database, couriers.

- An NHS Lothian IT security risk assessment for securely transferring personal identifiable data outside of NHS Lothian will be required by NHS Lothian Information Governance.

- This may also be required if pseudonymised personal data is be shared with organisations out with the UK/EU depending on GDPR adequacy arrangements i.e. transfer of any personal data out with NHS Lothian should be described in the protocol and the PIS.

Data collected or generated by the study (including personal data e.g. identifiable information, pseudonymised data) will not be transferred to any external individuals or organisations outside the sponsoring organisation(s) without participant consent, appropriate approvals (where applicable) and a data sharing agreement.

- Where it is known that data will be shared, this should be explicit in the PIS e.g. what data, with whom (organisation, country).

## DATA CONTROLLER

A data controller is an organisation that determines the purposes for which, and the manner in which, any personal data are processed.

The University of Edinburgh and NHS Lothian are joint data controllers along with any other entities involved in delivering the study that may be a data controller in accordance with applicable laws (e.g. the location, or collaborating institution in the local country where the study is being conducted).

## DATA BREACHES

Any data breaches will be reported to the University of Edinburgh (dpo@ed.ac.uk) and NHS Lothian (loth.dpo@nhs.scot) Data Protection Officers, who will onward report to the relevant authority according to the appropriate timelines if required.

For non-UK study settings: Insert details of any relevant Data Protection Officer/Committee in the local setting who must also be notified of data breaches.

Please ensure you have read the minimum and required reading setting out ground rules to be complied with for incident management and adhere to the Information Security Standard for Incident Management.

# STATISTICS AND DATA ANALYSIS

## SAMPLE SIZE CALCULATION

## PROPOSED ANALYSES

Detail the variables to be used for assessment and how these will be reported (e.g. means, standard deviations, medians etc.). Write detailed plans for analyses of primary and secondary outcomes including:

- Summary measures to be reported.

- Method of analysis.

- Plans for handling missing, unused and spurious data, non-compliers and withdrawals.

- Plans for pre-defined subgroup analyses.

- Statement regarding use of intention to treat analysis.

- Details of any interim analysis.

- Plans to involve an endpoint adjudication committee.

# SAFETY

This section may be amended in consultation with the Co-Sponsor Representative(s) (e.g. if a third party is delegated the responsibility for safety reporting).

The Investigator is responsible for the detection and documentation of events meeting the criteria and definitions detailed below.

Full details of risks and side effects that have been reported following administration of the IMP can be found in the relevant Investigator’s Brochure (IB)/Instructions for Use (IFU). Delete as appropriate.

Participants will be instructed to contact their Investigator at any time after consenting to join the study if any symptoms develop. All Adverse Events (AEs) that occur after informed consent until enter a time period to specify how long after participation in the study AEs will be recorded for must be recorded in the AE log and CRF (where applicable). In the case of an AE, the Investigator should initiate the appropriate treatment according to their medical judgment.

## DEFINITIONS

An adverse event (AE) is any untoward medical occurrence in a study participant, users or other persons, which does not necessarily have a causal relationship with an investigational medical device (IMD).

An adverse event is defined as serious if it led to any of the following:

- Death

- Serious deterioration in health of the participant, users, or other persons that either resulted in:

- A life-threatening illness or injury, or

- A permanent impairment of body structure or a body function including chronic diseases, or

- Inpatient or prolonged hospitalisation, or

- medical or surgical intervention to prevent life threatening illness or injury, or permanent impairment to a body structure or a body function,

- Foetal distress, foetal death or a congenital abnormality or birth defect, including physical or mental impairment

- Results in any other significant medical event not meeting the criteria above.

*Life-threatening in the definition of an SAE refers to an event where the participant was at risk of death at the time of the event. It does not refer to an event which hypothetically might have caused death if it were more severe.

^Any hospitalisation that was planned prior to enrolment will not meet SAE criteria. Hospitalisation for elective treatment of a pre-existing condition that did not worsen from baseline is generally not considered an SAE.

An Adverse Device Effect (ADE) is an adverse event related to the use of an investigational medical device. This includes any adverse event resulting from insufficiencies or inadequacies in the instructions for use, the deployment, the implantation, the installation, the operation, or any malfunction of the investigational medical device.

An ADE includes any event that is a result of a use error or intentional misuse. Use error refers to an act or omission of an act that results in a different device response than intended by the manufacturer or expected by the user. An unexpected physiological response of the participant does not in itself constitute a use error.

Serious Adverse Device Effect (SADE) is an adverse device effect that has resulted in any of the characteristics of a SAE. This includes device deficiencies that might have led to a SAE if;

- suitable action had not been taken

- intervention had not been made

- if circumstances had been less fortunate

Unanticipated Serious Adverse Device Effect (USADE) is a serious adverse device effect which by its nature, incidence, severity, or outcome has not been identified in the current version of the Investigator’s Brochure (IB).

Device Deficiency is an inadequacy of a medical device with respect to its identity, quality, durability, reliability, usability, safety or performance. Device deficiencies include malfunctions, use errors and inadequate labelling.

## IDENTIFYING AEs, ADEs, SAEs AND SADEs

All AEs, ADEs, SAEs, SADEs and USADEs will be recorded in the participants medical records from the time a participant signs the consent form to take part in the study until the end of the follow up period. Participants will be asked to contact their Investigator at any time after consenting to join the study if any symptoms develop.

Participants will be asked about the occurrence of AEs/ADEs/SAEs/SADEs at every visit during the study. Open-ended and non-leading verbal questioning of the participant will be used to enquire about AE/ADE/SAE/SADE occurrence. Participants will also be asked if they have been admitted to hospital, had any accidents, used any new medicines or changed concomitant medication regimens. If there is any doubt as to whether a clinical observation is an AE, the event will be recorded.

AEs, ADEs, SAEs and SADEs may also be identified via information from support departments e.g. laboratories, device software.

## RECORDING AEs, ADEs, SAEs AND SADEs

When an AE/ADE/SAE/SADE occurs, it is the responsibility of the Investigator, or another suitably qualified physician in the research team who is delegated to record and report AEs/SAEs, to review all documentation (e.g. hospital notes, laboratory and diagnostic reports) related to the event. The Investigator will then record all relevant information in the AE log and CRF (where applicable) and on the SAE form (if the AE/ADE meets the criteria of serious).

Information to be collected includes dose, type of event, onset date, Investigator assessment of seriousness, severity and causality, date of resolution as well as treatment required, investigations needed and outcome.

### Pre-existing Medical Conditions

Pre-existing medical conditions (i.e. existed prior to informed consent) should be recorded as medical history and only recorded as adverse events if medically judged to have worsened during the study.

### Worsening of an Underlying Condition During the Study

Describe any underlying conditions that are expected in the study population, or any other treatment the population is receiving (e.g. chemotherapy).

This information can be presented in a list, which should be comprehensive. Any events not to be recorded as AEs/SAEs should be detailed in Section 13.7.

Medical occurrences or symptoms of deterioration that are expected due to the participant’s underlying condition should be recorded in the participant’s medical notes and only be recorded as AEs on the AE log if medically judged to have unexpectedly worsened during the study. Events that are consistent with the expected progression of the underlying disease should not be recorded as AEs and are listed in section 13.7 if applicable.

## ASSESSMENT OF AEs, ADEs, SAEs, SADEs AND USADEs

Each AE must be assessed for seriousness, causality, severity and expectedness by the Investigator or another suitably qualified physician in the research team who has been delegated this role.

The Chief Investigator may not downgrade an event that has been assessed by an Investigator as an SAE, SADE or USADE, but can upgrade an AE to an SAE, SADE or USADE if appropriate.

### Assessment of Seriousness

The Investigator will make an assessment of seriousness as defined in Section 13.1.

### Assessment of Causality

The Investigator will make an assessment of whether the AE/SAE is likely to be related to the device according to the definitions below.

- Unrelated: where an event is not considered to be related to the device.

- Possibly Related: The nature of the event, the underlying medical condition, concomitant medication or temporal relationship make it possible that the ADE has a causal relationship to the device.

Alternative causes such as natural history of the underlying disease, other risk factors and the temporal relationship of the event to the treatment should be considered and investigated. The blind should not be broken for the purpose of making this assessment.

### Assessment of Expectedness

If the event is an ADE, the evaluation of expectedness by the Investigator will be made based on knowledge of the reaction and the relevant product information documented in the IB. Detail the relevant section of the document where this information can be found. The event may be classed as either:

- Expected: the ADE is consistent with the toxicity of the IMP listed in the IB.

- Unexpected: the ADE is not consistent with the toxicity in the IB.

Anticipated potential risks are documented in relevant Technical File/Risk Assessment Section XX. The risk analysis report can be found in Risk Analysis Section XX of the appropriate IB/Technical File/Device Risk Assessment.

### Assessment of Severity

The Investigator will make an assessment of severity for each AE/ADE/SAE/SADE and record this on the CRF or SAE/SADE form according to one of the following categories:

- Mild: an event that is easily tolerated by the participant, causing minimal discomfort and not interfering with every day activities.

- Moderate: an event that is sufficiently discomforting to interfere with normal everyday activities.

- Severe: an event that prevents normal everyday activities.

Note: the term ‘severe’, used to describe the intensity, should not be confused with ‘serious’ which is a regulatory definition based on participant/event outcome or action criteria. For example, a headache may be severe but not serious, while a minor stroke is serious but may not be severe.

## RECORDING OF AEs/SAEs/SADEs/USADEs

All AEs for each participant will be recorded on the AE/SAE/USADE log and will be assigned the appropriate MedDRA Systems Organ Class (SOC) code.

. Confirm who in the study team will perform the MedDRA coding. Delete coding if the investigation does not require MHRA authorisation.

## REPORTING OF SAEs/SADEs/USADEs

Once the Investigator becomes aware that an SAE, SADE or USADE has occurred in a study participant, the information will be reported to the ACCORD Pharmacovigilance team within 24 hours using the ACCORD SOP CR012-T01 SAE (Devices) Form. If the Investigator does not have all information regarding an SAE, SADE or USADE, they should not wait for this additional information before notifying ACCORD. The report form can be updated when the additional information is received.

The report will provide an assessment of causality and expectedness at the time of the initial report to ACCORD according to Sections 13.4.2, Assessment of Causality and 13.4.3, Assessment of Expectedness.

The SAE/SADE form will be transmitted via email to safety@accord.scot. Only forms in a pdf format will be accepted by ACCORD via email. Where missing information has not been sent to ACCORD after an initial report, ACCORD will contact the Investigator and request the missing information. The Investigator must respond to these requests in a timely manner.

Consider if there are any onward reporting requirements for SAEs/SADEs/USADEs (e.g. to trial manager/device manufacturer)? Details should be provided here and reflected in the relevant agreement(s).

All reports sent to ACCORD and any follow up information will be retained by the Investigator in the Investigator Site File (ISF).

SARs occurring in a participant after the treatment of that participant has ended should be reported to the Sponsor if the Investigator becomes aware of them.

## EVENTS EXEMPT FROM REPORTING/RECORDING AS AES/SAES

- If any AEs will not be recorded, they should be listed here, providing a justification. Clarify where these AEs will be recorded and if they will be recorded/reported if they are serious.

- If any SAEs are not to be reported to the Co-Sponsors, they should be listed here, providing a justification. Consider possibilities for risk adaption e.g. where SAEs will be captured as endpoint data or where the IMP has a well-defined safety profile of side effects will these events be captured as AEs/SAEs?

- Worsening of an underlying condition during the study (as mentioned in section 13.3.2): If events are not to be recorded as AEs, indicate where these will be recorded if they will be recorded/reported if they are serious.

Retain this text if this section is not relevant: All events will be subject to reporting and recording requirements described in section 13. No exemptions apply.

## REGULATORY REPORTING REQUIREMENTS

ACCORD is responsible for safety reporting on behalf of the Co-Sponsors.

Include the following if reporting to MHRA is required:

ACCORD is responsible for reporting the following to the MHRA:

- Any SAE (irrespective of whether the device has been assessed as having a causal relationship).

- Any device deficiency that might have led to an SAE if appropriate action had not been taken, intervention had not occurred, or circumstances had been less fortunate.

- Any new findings in relation to already reported events.

A cumulative SAE reporting form will be used.

ACCORD will report any reportable event that indicates an imminent risk of death, serious injury or serious illness and that requires prompt remedial action for other participants, users or other persons, or a new finding to it, immediately but no later than 2 calendar days after ACCORD is first aware of the event. Any other reportable event will be reported immediately but no later than 7 calendar days after ACCORD is first aware of the event.

The research team are responsible for submitting a cumulative, quarterly SAE report to the MHRA (using the appropriate MHRA Quarterly Summary Report template) providing an update on the latest overall safety profile of the device. This report should be reconciled with the Sponsor vigilance database prior to submission.

If only reporting to REC (e.g. medical devices that are UKCA/CE/CE UKNI marked for the purpose that is under investigation) include the following text:

ACCORD is responsible for reporting any USADE to the REC within 15 calendar days of the Sponsor becoming aware of the event.

ACCORD (or delegate) will inform Investigators at participating study locations of all USADEs and any other arising safety information.

Are there any onward reporting requirements (e.g. to IMP manufacturer)? If so, details should be provided here and reflected in the relevant agreement(s).

## DEVICE DEFICIENCIES

### Definition

Device Deficiency is an inadequacy of a medical device with respect to its identity, quality, durability, reliability, usability, safety, or performance. Device deficiencies include malfunctions, use errors and inadequate labelling.

### Reporting of Device Deficiencies

All device deficiencies will be documented on the ACCORD SOP CR012-T02 Medical Device Deficiency Form. Reports will be emailed as a .pdf file to safety@ACCORD.scot within 7 days of being made aware of the Device Deficiency for Device Deficiencies that are not linked to a potential SAE and within 24h for Device Deficiencies linked to a potential SAE. Reports will be complete as far as possible and will be signed and dated by the Investigator.

Delete the following text if not applicable: The Investigator will copy the relevant NHS Medical Physics department (Insert email address) to the email reporting a device deficiency to ACCORD. Where the relevant NHS Medical Physics department is not copied, ACCORD will forward the report on.

On receipt of Device Deficiency reports, the Pharmacovigilance Officer, or designee, will assess the report to ensure the correct assessment has been made.

The Pharmacovigilance Officer, or designee, will send an email to confirm receipt of the Device Deficiency report within 1 working day. If this email is not received within 1 working day of sending the report to ACCORD, the Investigator must email ACCORD to check that the report has been received by ACCORD.

Device Deficiency reports emailed to ACCORD and any follow-up information and correspondence will be kept by the Investigator in the Investigator ISF and by the Sponsor in the Sponsor File of TMF.

### Device Quarantine

If the event is defined as serious i.e. an SAE or Device Deficiency that could have led to a SADE or USADE, the Investigator must quarantine the device as soon as possible e.g. segregating the device from other equipment, labelling as not for use and with contact details attached.

Until the MHRA (if applicable) and Sponsor have been given the opportunity to carry out an investigation, all items (together with relevant packaging materials) should be quarantined. They should not be repaired, or discarded or returned to the manufacturer without agreement from the sponsor.

Devices should not be sent to the MHRA unless this has been specifically requested. Investigators should contact the manufacturer to obtain information relating to the procedure for returning the device, where considered appropriate.

The device should be cleaned, securely packaged, and clearly labelled, including the manufacturer reference number and CI details. Documentation regarding shipment and receipt of the device, where available, will be retained in the ISF.

## FOLLOW UP PROCEDURES

After initially recording an AE/ADE or recording and reporting an SAE/SADE, the Investigator should make every effort to follow each event until a final outcome can be recorded or reported as necessary. Follow up information on an SAE will be reported to the ACCORD office.

If, after follow up, resolution of an event cannot be established, an explanation should be recorded on the CRF or AE log or additional information section of the SAE/SADE form.

## PREGNANCY

Although pregnancy is not considered an AE or SAE; as a matter of safety, the Investigator will be required to record any female participant’s pregnancy or any pregnancy of a female partner of a male participant, who became pregnant while participating in the study. The Investigator will record the information on a Pregnancy Notification Form and submit this to ACCORD within 14 days of being made aware of the pregnancy.

All pregnant female participants and pregnant partners of male participants will be followed up until the outcome of the pregnancy.

# STUDY MANAGEMENT AND OVERSIGHT ARRANGEMENTS

## TRIAL MANAGEMENT GROUP

The study will be coordinated by a Project Management Group, consisting of the grant holders (Chief Investigator and Principal Investigator in Edinburgh), A Trial Manager and coordinating nurse.

The Trial Manager will oversee the study and will be accountable to the Chief Investigator. The Trial Manager will be responsible for checking the CRFs for completeness, plausibility and consistency. Any queries will be resolved by the Investigator or delegated member of the study team.

A Delegation Log will be prepared for each study location, detailing the responsibilities of each member of staff working on the study.

## TRIAL STEERING COMMITTEE

If no Trial Steering Committee is to be established, justification must be provided here.

A Trial Steering Committee (TSC) will be established to oversee the conduct and progress of the study. The terms of reference of the Trial Steering Committee, the draft template for reporting and the names and contact details are detailed in ACCORD SOP CR015 DMC & TSC Charters.

## DATA MONITORING COMMITTEE

If no Data Monitoring Committee is to be established, justification must be provided here.

An independent Data Monitoring Committee (DMC) will be established to oversee the safety of participants in the study. The terms of reference of the Data Monitoring Committee and the names and contact details are detailed in ACCORD SOP CR015 DMC & TSC Charters.

The DMC Charter will be signed by the appropriate individuals prior to the study commencing.

## INSPECTION OF RECORDS

Investigators and institutions involved in the study will permit study-related monitoring and audits on behalf of the Co-Sponsors, REC review, and regulatory inspection(s). In the event of an audit or monitoring, the Investigator agrees to allow the representatives of the Co-Sponsors direct access to all study essential records and source records. In the event of regulatory inspection, the Investigator agrees to allow inspectors direct access to all study essential records and source records.

## RISK ASSESSMENT

A study specific risk assessment will be performed by representatives of the Co-Sponsors, ACCORD monitors and the QA group, in accordance with ACCORD governance and sponsorship SOPs. Input will be sought from the Chief Investigator or designee. The outcomes of the risk assessment will form the basis of the monitoring plans and audit plans. The risk assessment outcomes will also indicate which risk adaptions could be incorporated into to study design.

## STUDY MONITORING AND AUDIT

ACCORD clinical trial monitors, or designees, will perform monitoring activities in accordance with the study monitoring plan. This will involve on-location visits and remote monitoring activities as necessary. ACCORD QA personnel, or designees, will perform study audits in accordance with the study audit plan. This will involve investigator location audits, study management audits and facility (including third-parties) audits as necessary. Delete where not required.

### Monitoring Plan

Detail a general outline of the monitoring plan to be followed, including access to source data and the extent of source data verification planned.

Note: It is possible to provide a detailed plan for monitoring arrangements separately from the CIP/CPSP.

During the initiation of the investigation location(s), the Co-Sponsors will ensure Investigators and the location study staff are trained on the device. The Investigator is responsible for ensuring that the location staff use the device in the same way. All training will be documented in a Training Log.

The monitor will also ensure that the Investigator and location team have received and understood the requirements and content of:

- The CIP or CPSP

- IB

- Participant Information Sheets and Consent Forms

- eCRFs

- IFUs

- All written clinical investigation agreements as appropriate

# GOOD CLINICAL PRACTICE

## ETHICAL CONDUCT

The study will be conducted in accordance with the principles of the International Conference on Harmonisation Tripartite Guideline for Good Clinical Practice (ICH GCP).

Before the study can commence, all necessary approvals will be obtained and any conditions of approvals will be met.

## REGULATORY COMPLIANCE

The study will not commence until a non-objection is obtained from the appropriate Regulatory Authority. The protocol and study conduct will comply with the Medical Devices Regulations 2002, as amended.

## CLINICAL INVESTIGATION COMPLIANCE

This section should include the following statements.

- Statement specifying that the clinical investigation shall be conducted in accordance with the ethical principles that have their origin in the Declaration of Helsinki.

- Statement specifying compliance with this document and any regional or national regulations, as appropriate.

- Statement specifying that the clinical investigation shall not begin until the required approval/favourable opinion from the Ethics Committee and Regulatory Authority have been obtained, if appropriate.

Statement specifying that any additional requirements imposed by the Ethics Committee or Regulatory Authority shall be followed, if appropriate.

## NHS LOTHIAN MEDICAL PHYSICS

NHS Lothian Medical Physics (NHSLMP) Department are independent NHS physicists and engineers who facilitate the introduction of new clinical technology into healthcare, ensuring their safe and effective use. Medical physics experts will review the technical documentation for the medical devices involved in this study and perform physical inspection of the devices where required. The study will not begin until authorisation has been received from NHSLMP.

## INVESTIGATOR RESPONSIBILITIES

The Investigator is responsible for the overall conduct of the study at the location and compliance with the protocol and any protocol modifications. In accordance with the principles of ICH GCP, the following areas listed in this section are also the responsibility of the Investigator. Responsibilities may be delegated to an appropriate member of study location staff.

Delegated tasks must be documented on a Delegation Log and signed by all those named on the list prior to undertaking applicable study-related procedures.

### Informed Consent

The Investigator is responsible for ensuring informed consent is obtained before any study specific procedures are carried out. The decision of a participant to participate in clinical research is voluntary and should be based on a clear understanding of what is involved.

Participants must receive adequate oral and written information – appropriate Participant Information and Informed Consent Forms will be provided. The oral explanation to the participant will be performed by the Investigator or qualified delegated person and must cover all the elements specified in the Participant Information Sheet and Consent Form.

The participant must be given every opportunity to clarify any points they do not understand and, if necessary, ask for more information. The participant must be given sufficient time to consider the information provided. It should be emphasised that the participant may withdraw their consent to participate at any time without loss of benefits to which they otherwise would be entitled.

The participant will be informed and agree to their medical records being inspected by regulatory authorities and representatives of the Co-Sponsors.

The Investigator or delegated member of the study team and the participant will sign and date the Informed Consent Form(s) to confirm that consent has been obtained. The original will be signed in the Investigator Site File (ISF). The participant will receive a copy of the signed consent form and a copy will be filed in the participant’s medical notes.

### Study Location Staff

The Investigator must be familiar with the device, protocol and the study requirements. It is the Investigator’s responsibility to ensure that all staff assisting with the study are adequately informed about the device, protocol and their study-related duties.

### Data Recording

The Principal Investigator is responsible for the quality of the data recorded in the CRF at each study location.

### Investigator Documentation

Prior to beginning the study, each Investigator will be asked to provide essential records to the ACCORD Research Governance & QA Office, including but not limited to:

- An original signed Investigator’s Declaration (as part of the Clinical Investigation Agreement documents);

- Curriculum vitae (CV) signed and dated by the Investigator indicating that it is accurate and current.

- ACCORD will ensure all other documents required by ICH GCP are retained in a Trial Master File (TMF) or Sponsor File, where required. The Principal Investigator will ensure that the required documentation is available in local Investigator Site files (ISFs). Under certain circumstances the TMF responsibilities may be delegated to the research team by ACCORD.

### GCP Training

All study staff must hold evidence of appropriate GCP training.

### Data Protection Training

All University of Edinburgh employed researchers and study staff will complete the Data Protection Training.

NHS Lothian employed researchers and study staff will comply with NHS Lothian mandatory Information Governance Data Protection training.

Non-NHS Lothian staff with access to NHS Lothian systems will familiarise themselves and abide by all NHS Lothian IT policies, as well as employer policies.

Research staff are responsible for completing mandatory data protection training in accordance with local policy.

### Information Security Training

All University of Edinburgh employed researchers, students and study staff will complete the Information Security training and will have read the minimum and required reading setting ground rules to be complied with.

NHS Lothian employed researchers and study staff will comply with NHS Lothian mandatory Information Governance IT Security training.

Non-NHS Lothian staff that have access to NHS Lothian systems will familiarise themselves and comply with all NHS Lothian IT policies, as well as employer policies.

### Confidentiality

All laboratory specimens, evaluation forms, reports, and other records must be identified in a manner designed to maintain participant confidentiality. All records must be kept in a secure storage area with limited access. Clinical information will not be released without the consent of the participant. The Investigator and study location staff involved with this study may not disclose or use for any purpose other than performance of the study, any data, record, or other unpublished information, which is confidential or identifiable, and has been disclosed to those individuals for the purpose of the study. Prior written agreement from the Co-Sponsors or its designee must be obtained for the disclosure of any said confidential information to other parties.

### Data Protection

All Investigators and study location staff involved with this study must comply with the requirements of the appropriate data protection legislation (including where applicable the UK General Data Protection Regulation legislation with regard to the collection, storage, processing and disclosure of personal information.

Computers used to collate the data will have limited access measures via usernames and passwords.

Published results will not contain any personal data that could allow identification of individual participants.

# STUDY CONDUCT RESPONSIBILITIES

## PROTOCOL MODIFICATIONS

Any changes in research activity, except those necessary to remove an apparent, immediate hazard to the participant in the case of an urgent safety measure, must be reviewed and approved by the Chief Investigator.

Proposed modifications will be submitted to the Co-Sponsors for classification and authorisation.

Modifications to the protocol must be submitted in writing to the appropriate REC, Regulatory Authority and local R&D for approval prior to implementation, as required.

## PROTOCOL NON-COMPLIANCE

### Definitions

- Deviation - Any change, divergence, or departure from the study design, procedures defined in the protocol or GCP that does not significantly affect a participant’s rights, safety, or well-being, or study outcomes.

- Violation - A deviation that may potentially significantly impact the completeness, accuracy, and/or reliability of the study data or that may significantly affect a participant’s rights, safety, or well-being.

### Management of Deviations and Violations

Protocol deviations will be recorded in a protocol deviation log and logs will be submitted to the Co-Sponsors every 3 months. Each protocol violation will be reported to the Co-Sponsors within 3 days of becoming aware of the violation. Amend frequency as appropriate and agreed with QA.

Deviation logs/violation forms will be transmitted via email to QA@accord.scot. Only forms in a pdf format will be accepted by ACCORD via email. Forms may also be submitted by hand to the office. Where missing information has not been sent to ACCORD after an initial report, ACCORD will contact the Investigator and request the missing information. The Investigator must respond to these requests in a timely manner.

### Protocol Waivers

Prospective protocol deviations, i.e. protocol waivers, will not be approved by the Co-Sponsors and therefore will not be implemented, except where necessary to eliminate an immediate hazard to study participants. If this necessitates a subsequent protocol modification, this should be submitted to the REC, Regulatory Authority and local R&D for review and approval if appropriate.

## URGENT SAFETY MEASURES

The Investigator may implement a deviation from or change to the protocol to eliminate an immediate hazard to participants without prior approval from the REC and the MHRA. This is defined as an urgent safety measure (USM).

The CI, acting on behalf of the Sponsor, must contact the Clinical Trial Unit at the MHRA (ideally within 24 hours and no later than 3 days after the measures are taken) to discuss the issue with a medical assessor (+44 (0) 20 3080 6456).

The Investigator will then notify the MHRA (clintrialhelpline@mhra.gsi.gov.uk) (or other Regulatory Authority where relevant), the REC and ACCORD, in writing of the measures taken and the reason for the measures within 7 calendar days. If the MHRA agrees that the measure is a USM, a substantial modification will be submitted, detailing the USM within 2 weeks of the date on which the MHRA was first informed (via telephone) of the USM.

## SERIOUS BREACH REQUIREMENTS

A serious breach is a breach which is likely to effect to a significant degree:

(a) the safety or physical or mental integrity of the participants of the study; or

(b) the scientific value of the study.

If a potential serious breach is identified by the Chief investigator, Principal Investigator or delegates, the Co-Sponsors (QA@accord.scot) must be notified within 24 hours. It is the responsibility of the Co-Sponsors to assess the impact of the breach on the scientific value of the study, to determine whether the incident constitutes a serious breach and report to regulatory authorities and research ethics committees as necessary.

## END OF STUDY

The end of study is defined as the last participant’s last visit including any follow-up or data collection. Amend as appropriate.

The Investigators and/or the TSC and/or the Co-Sponsors have the right at any time to terminate the study for clinical or administrative reasons.

The end of the study will be reported to the REC, Regulatory Authority, R&D Office(s) and Co-Sponsors within 90 days, or 15 days if the study is terminated prematurely. The Investigators will inform participants of the premature study closure and ensure that the appropriate follow up is arranged for all participants involved. End of study notification will be reported to the Co-Sponsors via email to resgov@accord.scot.

In accordance with ACCORD SOP CR011, a Research Study Report will be provided to the Co-Sponsors (QA@accord.scot) and HRA within one year of the end of the study.

Within one year of the end of study, the Investigator will:

- Publish summary results on the same publicly accessible database that the study was registered with, on behalf of the Co-Sponsors.

- Offer an accessible summary of the results to the study participants.

At any point before the 12-month deadline, the Co-Sponsors may apply to the HRA for a deferral or waiver to one or both requirements, explaining why this is needed. Phase I clinicals trials may be eligible for an automatic deferral of up to 30 months from the conclusion of the study, which may be further extended on request. Where a deferral to the requirement to publish the results is in place, the Co-Sponsors should provide a summary of the study results to the licensing authority within 12 months of  study completion (which will be kept confidential). Refer to ACCORD SOP CR011.

Once summary results have been published in the registry, the Investigator will submit a short confirmatory e-mail to the Health Research Authority (HRA) (study.registration@hra.nhs.uk). The HRA will inform the MHRA.

Delete as appropriate: For studies being conducted in a non-UK setting, end of study summary results will be submitted to the relevant Regulatory Authority and individual Ethics Committees in the local setting, and in accordance with relevant local Regulatory Authority/Ethics Committee timelines. The Co-Sponsors will be copied to this email (QA@accord.scot).

## CONTINUATION OF DEVICE USE FOLLOWING THE END OF STUDY

Detail arrangements for continuation of use of the device beyond the end of the study. If none, provide justification.

## INSURANCE AND INDEMNITY

The Co-Sponsors are responsible for ensuring proper provision has been made for insurance or indemnity to cover their liability and the liability of the Chief Investigator and staff.

The following arrangements are in place to fulfil the Co-Sponsors' responsibilities:

- The Protocol has been authored by the Chief Investigator and researchers employed by the University and collaborators. The University has insurance in place (which includes no-fault compensation) for negligent harm caused by poor protocol design by the Chief Investigator and researchers employed by the University.

- Study locations participating will be liable for clinical negligence and other negligent harm to individuals taking part in the study and covered by the duty of care owed to them by the study locations concerned. The Co-Sponsors require individual study locations participating in the study to arrange for their own insurance or indemnity in respect of these liabilities. Study locations which are part of the United Kingdom's National Health Service have the benefit of NHS Indemnity.

- Study locations outside the United Kingdom will be responsible for arranging their own indemnity or insurance for their participation in the study, as well as for compliance with local law applicable to their participation in the study.

- The manufacturer supplying IMP has accepted limited liability related to the manufacturing and original packaging of the study drug and to the losses, damages, claims or liabilities incurred by study participants based on known or unknown Adverse Events which arise out of the manufacturing and original packaging of the study drug, but not where there is any modification to the study drug (including without limitation re-packaging and blinding).

# REPORTING, PUBLICATIONS AND NOTIFICATION OF RESULTS

## AUTHORSHIP POLICY

Ownership of the data arising from this study resides with the Co-Sponsors although the study team will be responsible for retaining data, publishing findings and submitting necessary reports derived from the data.  On completion of the study, the study data will be analysed and tabulated, and a study report will be prepared in accordance with ICH guidelines.

## PUBLICATION

The study report will be submitted to the Co-Sponsors and REC within 1 year of the end of the study, subject to the conditions specified in section 14.6. Where acceptable, a published journal article may be submitted as the study report. The Chief Investigator will provide the study report to ACCORD, for review, prior to finalisation, where applicable. The study report may be used for publication and presentation at scientific meetings. Investigators have the right to publish orally or in writing the results of the study. The results of the study, together with other mandated information, will be uploaded to the publicly accessible database that the study was registered with, on behalf of the Co-Sponsors, within 1 year of the end of the study. Note: except for some paediatric studies involving the use of authorised medicinal products this timeline is 6 months.

Summaries of results will also be made available to Investigators for dissemination within their clinics (where appropriate and according to their discretion).

## DATA SHARING

Detail procedures for data sharing (if any) – these may be funder specific.

## PEER REVIEW

Detail procedures for peer review – these may be funder specific or involve an internal department.

# REFERENCES

APPENDIX 1: Trial Steering Committee

APPENDIX 2: Data Monitoring Committee